# Product description

DIN rail • 24 V DC • Modbus RTU • Home Assistant

# Overview

See module README for details.

# Quick Overview

See module README for details.

# Typical Applications

See module README for details.

# Tech Specs

**ESP32-WROOM-32U** microcontroller with Wi-Fi and Bluetooth

**ESPHome compatible firmware** for seamless Home Assistant integration

**RS-485 Modbus RTU** interface for extension module communication

**USB Type-C port** for programming, debugging, and power

**1-Wire interface** with ESD and overvoltage protection

**PCF8563 RTC** for accurate time-based automation

**One industrial-grade relay** with varistor and opto-isolation

**One 24V digital input** with surge protection (ISO1212)

**Four front-panel buttons** and **status LEDs** for local control and diagnostics

**DIN-rail mountable** for standard electrical enclosures

# Installation, Environmental & Mechanical

See module README for details.

# Home Assistant & ESPHome Integration

See module README for details.

# Documentation

See module README for details.

# Power Supply

Wi-Fi Connectivity – Integrated Wi-Fi for wireless access and Home Assistant integration.

# Inputs & Outputs

# Cable Recommendations & Shield Grounding

See module README for details.

# System Architecture & Pinout

# ESPHome YAML Configuration & Hardware Pinout Manual

# Links

See module README for details.