# RGB-621-R1 — Module for RGB+CCT LED Control

DIN rail • 24 V DC • Modbus RTU • Home Assistant

# Overview

See module README for details.

# Quick Overview

The **RGB-621-R1** is a **smart RGB + CCT LED controller module** designed for **HomeMaster automation systems** and other **Modbus RTU networks**.

It features **5 high-current PWM outputs** for RGB and Tunable White (CCT) LED control, **2 isolated digital inputs** for wall switches or sensors, and **1 relay output** for switching external loads or LED drivers.

Powered by the **Raspberry Pi RP2350A** microcontroller, the module supports **RS-485 (Modbus RTU)** communication and configuration via **WebConfig over USB-C (Web Serial)** — no drivers or external software required.

It connects directly to **HomeMaster MicroPLC** and **MiniPLC** controllers or operates as a **standalone Modbus slave** in any automation network.

Its **isolated I/O architecture**, **dual-board design**, and built-in **surge and short-circuit protection** ensure accurate dimming, stable communication, and reliable operation in demanding **home, ambient, or architectural lighting applications**.

---

# Typical Applications

The **RGB-621-R1** module is primarily designed for multi-channel lighting control but can also be used in broader automation and signaling tasks.

Its combination of isolated inputs, PWM outputs, and a relay makes it suitable for ambient lighting, architectural control, and user-interactive automation.

---

## 🏠 Use Case 1 — RGB Scene Control with Wall Switch Inputs

**Purpose:**

Use two wall switches to trigger and cycle through preset color or brightness scenes stored in the controller.

**How it works:**

Each digital input acts as a trigger to change the lighting mode or adjust brightness levels.

**Setup Steps:**

Connect **DI1** and **DI2** to wall switches (dry contact).

Wire **RGBW LED strips** to PWM outputs R, G, B, CW, WW.

In **WebConfig**, assign Modbus address and test LED channels.

In the **MicroPLC / MiniPLC**, define scene logic (e.g., DI1 → next scene, DI2 → off).

Use Modbus holding registers to control PWM duty cycles for each channel.

---

## 💡 Use Case 2 — Relay-Based Power Switching for LED Drivers

**Purpose:**

Control a 24 V LED power supply or auxiliary lighting circuit via the onboard relay.

**How it works:**

The relay output switches the driver’s DC line or AC supply based on PLC logic or local input triggers.

**Setup Steps:**

Connect the **relay COM/NO terminals** in series with the LED driver’s supply.

Wire LED outputs to PWM channels for dimming control.

In **WebConfig**, enable relay control via Modbus coil.

Program the controller to energize the relay only when active scenes are running.

Optionally, use a wall switch on **DI1** as a manual override for relay control.

---

## 🌈 Use Case 3 — Tunable White (CCT) Control with Daylight Automation

**Purpose:**

Implement human-centric lighting that adjusts color temperature (CCT) throughout the day.

**How it works:**

Two PWM channels (CW and WW) mix warm and cool light based on time of day or ambient sensor input.

**Setup Steps:**

Connect **CW** and **WW** LED strips to respective PWM outputs.

Define a time-based profile in the controller (morning = warm, midday = cool).

Use Modbus registers to update CW/WW duty cycles automatically.

Optionally, map DI1 as a manual “Day/Night” mode toggle.

Adjust max/min PWM limits in WebConfig for consistent brightness.

---

## 🚨 Use Case 4 — Status Indicator / Alarm Signaling

**Purpose:**

Display system or alarm status using color lighting patterns.

**How it works:**

The module’s PWM channels can drive RGB indicators or stack lights controlled by alarm flags from the PLC.

**Setup Steps:**

Wire a small 12 V RGB LED indicator to PWM outputs R, G, and B.

Connect the module to the same Modbus bus as the alarm controller.

Assign registers to display alarm colors (e.g., red = alert, green = normal).

Use DI1 as a manual alarm acknowledge input.

Configure the relay as an auxiliary siren or warning signal driver.

---

## 🧠 Use Case 5 — Standalone Mood Lighting Controller

**Purpose:**

Operate ambient RGB lighting locally without an external PLC, using onboard inputs and preloaded logic.

**How it works:**

The module can store simple input-to-output mapping rules (through WebConfig or firmware) for local lighting control.

**Setup Steps:**

Power the module from a 24 V DC supply.

Connect LED strips to PWM outputs and wall switches to DI1/DI2.

In WebConfig, set input-to-PWM mapping rules or fading behavior.

Adjust brightness levels and transition speeds.

Optionally, connect to Modbus later for centralized control or monitoring.

---

These examples illustrate how the **RGB-621-R1** can serve as both a **dedicated lighting driver** and a **multi-purpose automation node**, combining smooth dimming, robust field isolation, and Modbus integration.

---

# Tech Specs

See module README for details.

# Installation, Environmental & Mechanical

See module README for details.

# Home Assistant & ESPHome Integration

See module README for details.

# Documentation

**Repository (module path):**

`RGB-621-R1` on GitHub

**Firmware & examples:** `RGB-621-R1/Firmware/`

**WebConfig (HTML page):** `RGB-621-R1/Firmware/ConfigToolPage.html`

**Schematics (PDF):** `RGB-621-R1/Schematics/`

**Datasheet & docs:** `RGB-621-R1/Manuals/`

**Images & diagrams:** `RGB-621-R1/Images/`

---

# Power Supply

The RGB-621-R1 operates exclusively from a **24 V DC SELV/PELV** supply.

Connect the **+24 V** and **0 V (GND)** to the top power terminals marked **V+** and **0V** or **LED PS**.

The LED strip’s positive rail (**+24 V**) is routed internally through:

**PTC fuses (F3/F4)** for over-current protection

**Reverse-polarity diode (STPS340U)**

**Surge suppressor (SMBJ33A)**

**Relay K1 (HF115F)**, which switches the LED power output (COM terminal)

The LED channels (R/G/B/CW/WW) act as **low-side PWM sinks**, and the LED strip must be **24 V common-anode**.

**Current consumption (typical):**

Logic + RS-485: ≈ 100 mA

Relay coil: ≈ 30 mA (active)

LED load: dependent on connected strips (sized per external 24 V LED PSU)

**Ground references:**

`GND_FUSED` → field ground for LED and inputs

`GND` → logic/USB ground

These are internally isolated — do **not** tie them together externally.

---

# Inputs & Outputs

| Interface | Qty | Notes |
| --- | --- | --- |
| **Digital Inputs** | 2 | 24 V isolated (ISO1212), dry-contact or sourcing |
| **Relay** | 1 | SPST-NO, 16 A @ 250 VAC / 30 VDC |
| **PWM Outputs** | 5 | Low-side MOSFETs (AP9990GH-HF) for R/G/B/CW/WW |
| **RS-485 (Modbus)** | 1 | MAX485 transceiver, 19200 bps 8N1 default |
| **USB-C** | 1 | Config & firmware upload (logic only) |
| **MCU** | 1 | RP2350A @ 133 MHz, 32 Mbit QSPI Flash |
| **Buttons / LEDs** | — | Local control, TX/RX & status indicators |

---

# Cable Recommendations & Shield Grounding

See module README for details.

# System Architecture & Pinout

Diagram

**System Block Diagram**

**RP2350A MCU Pinout**

**Field Board Layout**

**MCU Board Layout**

---

# ESPHome YAML Configuration & Hardware Pinout Manual

Diagram

**System Block Diagram**

**RP2350A MCU Pinout**

**Field Board Layout**

**MCU Board Layout**

---

# Links

Arduino (RP2350 core)

C/C++ (PIO / SDK)

MicroPython